An Najah University – Faculty of engineering

Electrical Eng. Department

Instruments and Measurements

Instructor: Jamal Khrousheh                  7/3/2010                                        1st hr. exam

Question #1 (5 marks)

1) Probable error gives an indication for:

a) Limiting error

b) Average value

c) Distribution of values

d) Absolute error

2) Dynamic error arises due to:

a) Irregular spring tension

b) Over loading of instrument

c) When excessive pressure is applied to the shaft

d) The instrument not responding fast enough to follow changes

3) The difference between primary and secondary standard is:

a) Secondary standard principles tools used in industry and calibrated against primary standard

while primary                        b)  Secondary standard reference used in industrial measurement laboratories

standard reference used in national laboratories

c) Primary standards checked by absolute measurements in term of fundamental units while

secondary checked against primary

d) Primary and secondary checked against international standard

4) Full deflection current depends on:

a) Measured current value

b) Entrant shunt resistance

c) Internal resistance of coil Rm

d) Galvanometer coil specification

5) Accuracy of instrument mean:

a) How much the smallest change in response value the instrument can respond

b) How much the instrument readings approach the true value

c) How much successive measurements differ from one another for a fixed value of a variable

d) How much the instrument response to change of input or measure

6) Electrodynamometer ac-meter betters the rectifier type because:

1) Has higher sensitivity

2) Measure true rms values

3) Used to measure low frequencies

4) Does not affect by temp.

7) If N= 102.2, M = 2220.5 and L = 5.33 the proper representation for Z=(N+M)/L

1) 918.22

2) 918.2

3) 918

4) 920

8) If M=272 + 3     ,   N = 312 + 3.5%   and L= 50 + 1 the percentage error in Z=( N-M)/L is:

a) 3.5%

b) 7%

c) 6.6%

d) 1.2%

9) In order to measure the voltage for sinusoidal signal v(t) = 40cos(5000t) the most suitable instrument

a) AC rectifier type instrument

b) AC electrodynamometer instrument

c) AC thermo instrument

d) All of the above

10)sketch the diagram of electrodynamometer wattmeter connected to measure the power

of single phase load

Question # 2 (4 marks)

Ac - power plant use ammeter , voltmeter and wattmeter , the current reads 2.5 Am on ( 0 - 5 ) Am

scale and  the voltmeter  reads  200 V  on ( 0 -250 ) V  scale ,  the wattmeter reads  400 watt  on

( 0 - 500 ) watt  scale if  each  instrument has accuracy of 1% , what is the absolute error in power factor reading

Question # 3 (4 marks)

For circuit shown the components has the following values:

R1= 400 ohm,   R2= 600 ohm,  R3= 1000 ohm

R4 = 500 ohm,   R5= 1000 ohm

The voltage across AB is measured by voltmeter whose internal

resistance 9500 ohm. What is the measurement error caused by the

resistance of the measuring instrument?

Question # 4 (6 marks)

An Ac voltmeter use galvanometer with Rm= 50 ohm and 1 mA full scale deflection current, Rsh s hunt 50 ohm, the forward resistance 200 ohm each diode, the parity voltage for each diode is 0.7 v  and infinity reverse resistance find:

1- Rs for range 50 V rms

2- Sensitivity of voltmeter

3- If the input is triangular wave form shown below

What is the % error in voltmeter reading